|  |  |  |
| --- | --- | --- |
| Customer | Morel - Rèunion |  |
| Sample ID | Rèunion 0-3 RL Roulè-Lavè |  |
| Test | AGGREGATES CHARACTERIZATION |  |
| Sample (g) | 300 |  |
| Lab address | PF Lab Services – Simbario (VV) – ITALY |  |

|  |  |
| --- | --- |
| MOISTURE CONCENTRATION: 0% |  |
| Particles size distribution |  |
|  |  |
| Particles size analysis |  |
| |  |  | | --- | --- | | Diameter (µm) | Passing (%) | | 2360 | 92,43 | | 2000 | 86,99 | | 1600 | 79,47 | | 1400 | 74,75 | | 1250 | 69,97 | | 1000 | 61,52 | | 850 | 54,86 | | 710 | 48,73 | | 600 | 40,82 | | 500 | 33,14 | | 300 | 15,67 | | 212 | 8,35 | | 125 | 2,83 | | 80 | 1,08 | | 63 | 0,06 | |  |
| For the analysis were used Sieves mesh mall S Steel I.S.O. 3310 (UNI EN 933-2) and electric sieve shaker with timer (UNI EN 932-5 ISO 3310-1). |  |