|  |  |  |
| --- | --- | --- |
| Customer | Portogallo |  |
| Sample ID | APB 300 |  |
| Test | AGGREGATES CHARACTERIZATION |  |
| Sample (g) | 300 |  |
| Lab address | PF Lab Services – Simbario (VV) – ITALY |  |

|  |  |
| --- | --- |
| CHEMICAL COMPOSITION: Quartz Sand |  |
| MOISTURE CONCENTRATION: 0% |  |
|  |  |
| Particles size distribution |  |
|  |  |
| Particles size analysis |  |
| |  |  | | --- | --- | | Diameter (µm) | Passing (%) | | |  | | --- | | 600,00 | | 500,00 | | 300,00 | | 212,00 | | 125,00 | | 80,00 | | 63,00 | | |  | | --- | | 99,99 | | 99,98 | | 94,40 | | 45,78 | | 10,94 | | 2,65 | | 0,49 | | |  |
| For the analysis were used Sieves mesh mall S Steel I.S.O. 3310 (UNI EN 933-2) and electric sieve shaker with timer (UNI EN 932-5 ISO 3310-1). |  |